## Entry
Repeat campaign: vial gravimetry and preliminary Karl-Fischer
Type here (the only editable cells)
Campaign-1 KF reused, locked
Aqueous phase: water by difference, no KF
Sheet protected without password (Review > Unprotect sheet). Row 7 names the column of Sistemas ternarios_MF.xlsx each value goes to.
Tube | Vial code | Phase | Role | Vial, g | Sample, µL | Vial + sample, g | IPA, µL | Vial + sample + IPA, g | Sample, g | IPA, g | Dilution factor | KF 1, % m/m | KF 2, % m/m | KF status | Notes
|  |  |  | D | E | F | G | H | I | J |  | U | V
example | A1-T1 | Superior | organic | 2.7385 | 300 | 2.9211 | 700 | 3.4876 | 0.1826 | 0.5665 | 4.1024 | 1.93 |  | fresh (example)
BIN1 | BIN1-T1 | Superior | organic | 2.7415 | 300 | 3.0134 | 700 | 3.5451 | 0.2719 | 0.5317 | 2.9555 | 1.5599 | 1.6021 | reused: campaign 1
BIN1 | BIN1-T2 | Superior | organic | 2.7706 | 300 | 3.0384 | 700 | 3.5564 | 0.2678 | 0.518 | 2.9343 | 1.4736 |  | reused: campaign 1
BIN1 | BIN1-B1 | Inferior | aqueous | 2.7576 | 300 | 3.0173 | 700 | 3.5471 | 0.2597 | 0.5298 | 3.04 |  |  | n/a: by difference
BIN1 | BIN1-B2 | Inferior | aqueous | 2.7398 | 300 | 2.9745 | 700 | 3.4873 | 0.2347 | 0.5128 | 3.1849 |  |  | n/a: by difference
C4 | C4-T1 | Superior | organic | 2.768 | 300 | 3.0381 | 700 | 3.5894 | 0.2701 | 0.5513 | 3.0411 | 3.5531 |  | fresh: type the new KF
C4 | C4-T2 | Superior | organic | 2.7858 | 300 | 3.0597 | 700 | 3.6131 | 0.2739 | 0.5534 | 3.0204 | 3.4885 |  | fresh: type the new KF
C4 | C4-B1 | Inferior | aqueous | 2.7496 | 300 | 2.9932 | 700 | 3.5547 | 0.2436 | 0.5615 | 3.305 |  |  | n/a: by difference
C4 | C4-B2 | Inferior | aqueous | 2.8134 | 300 | 3.0772 | 700 | 3.6406 | 0.2638 | 0.5634 | 3.1357 |  |  | n/a: by difference
C5 | C5-T1 | Superior | aqueous | 2.7508 | 300 | 3.0507 | 700 | 3.5949 | 0.2999 | 0.5442 | 2.8146 |  |  | n/a: by difference
C5 | C5-T2 | Superior | aqueous | 2.7373 | 300 | 3.0393 | 700 | 3.5727 | 0.302 | 0.5334 | 2.7662 |  |  | n/a: by difference
C5 | C5-B1 | Inferior | organic | 2.7519 | 300 | 3.0815 | 700 | 3.6266 | 0.3296 | 0.5451 | 2.6538 | 5.8418 |  | fresh: type the new KF
C5 | C5-B2 | Inferior | organic | 2.782 | 300 | 3.0706 | 700 | 3.6114 | 0.2886 | 0.5408 | 2.8739 | 5.7001 |  | fresh: type the new KF
BIN3 | BIN3-T1 | Superior | organic | 2.7328 | 300 | 2.9968 | 700 | 3.5049 | 0.264 | 0.5081 | 2.9246 | 3.2005 |  | reused: campaign 1
BIN3 | BIN3-T2 | Superior | organic | 2.7832 | 300 | 3.0463 | 700 | 3.5633 | 0.2631 | 0.517 | 2.965 | 3.1966 |  | reused: campaign 1
BIN3 | BIN3-B1 | Inferior | aqueous | 2.7346 | 300 | 2.9626 | 700 | 3.4922 | 0.228 | 0.5296 | 3.3228 |  |  | n/a: by difference
BIN3 | BIN3-B2 | Inferior | aqueous | 2.7453 | 300 | 3.031 | 700 | 3.5588 | 0.2857 | 0.5278 | 2.8474 |  |  | n/a: by difference
D1 | D1-T1 | Superior | aqueous | 2.7991 | 300 | 3.0977 | 700 | 3.632 | 0.2986 | 0.5343 | 2.7894 |  |  | n/a: by difference
D1 | D1-T2 | Superior | aqueous | 2.7293 | 300 | 3.0332 | 700 | 3.5642 | 0.3039 | 0.531 | 2.7473 |  |  | n/a: by difference
D1 | D1-B1 | Inferior | organic | 2.7395 | 300 | 2.9683 | 700 | 3.5057 | 0.2288 | 0.5374 | 3.3488 | 8.7541 | 8.651 | fresh: type the new KF
D1 | D1-B2 | Inferior | organic | 2.7364 | 300 | 3.0868 | 700 | 3.6186 | 0.3504 | 0.5318 | 2.5177 | 8.7413 |  | fresh: type the new KF
D2 | D2-T1 | Superior | aqueous | 2.7491 | 300 | 3.0502 | 700 | 3.5943 | 0.3011 | 0.5441 | 2.807 |  |  | n/a: by difference
D2 | D2-T2 | Superior | aqueous | 2.7955 | 300 | 3.0991 | 700 | 3.6295 | 0.3036 | 0.5304 | 2.747 |  |  | n/a: by difference
D2 | D2-B1 | Inferior | organic | 2.7678 | 300 | 3.0705 | 700 | 3.6085 | 0.3027 | 0.538 | 2.7773 | 2.9293 |  | reused: campaign 1
D2 | D2-B2 | Inferior | organic | 2.8043 | 300 | 3.0994 | 700 | 3.6367 | 0.2951 | 0.5373 | 2.8207 | 2.9187 |  | reused: campaign 1
D3 | D3-T1 | Superior | aqueous | 2.8176 | 300 | 3.119 | 700 | 3.6571 | 0.3014 | 0.5381 | 2.7853 |  |  | n/a: by difference
D3 | D3-T2 | Superior | aqueous | 2.802 | 300 | 3.1046 | 700 | 3.6365 | 0.3026 | 0.5319 | 2.7578 |  |  | n/a: by difference
D3 | D3-B1 | Inferior | organic | 2.7873 | 300 | 3.0945 | 700 | 3.6192 | 0.3072 | 0.5247 | 2.708 | 4.1294 |  | reused: campaign 1
D3 | D3-B2 | Inferior | organic | 2.7583 | 300 | 3.0519 | 700 | 3.5852 | 0.2936 | 0.5333 | 2.8164 | 4.2546 |  | reused: campaign 1
D5 | D5-T1 | Superior | aqueous | 2.7596 | 300 | 3.0616 | 700 | 3.5821 | 0.302 | 0.5205 | 2.7235 |  |  | n/a: by difference
D5 | D5-T2 | Superior | aqueous | 2.8114 | 300 | 3.1157 | 700 | 3.6272 | 0.3043 | 0.5115 | 2.6809 |  |  | n/a: by difference
D5 | D5-B1 | Inferior | organic | 2.808 | 300 | 3.0982 | 700 | 3.635 | 0.2902 | 0.5368 | 2.8498 | 3.5236 |  | reused: campaign 1 | KF typed 2026-09-22: 3.0982 % (D5 switched to campaign-1 KF)
D5 | D5-B2 | Inferior | organic | 2.7798 | 300 | 3.0909 | 700 | 3.6103 | 0.3111 | 0.5194 | 2.6696 | 3.5085 |  | reused: campaign 1 | KF typed 2026-09-22: 3.0909 % (D5 switched to campaign-1 KF)
E1 | E1-T1 | Superior | organic | 2.7434 | 300 | 2.9949 | 700 | 3.5194 | 0.2515 | 0.5245 | 3.0855 | 1.7516 |  | fresh: type the new KF
E1 | E1-T2 | Superior | organic | 2.717 | 300 | 2.967 | 700 | 3.4935 | 0.25 | 0.5265 | 3.106 | 1.7941 |  | fresh: type the new KF
E1 | E1-B1 | Inferior | aqueous | 2.7308 | 300 | 2.9645 | 700 | 3.4817 | 0.2337 | 0.5172 | 3.2131 |  |  | n/a: by difference
E1 | E1-B2 | Inferior | aqueous | 2.7036 | 300 | 3.0221 | 700 | 3.541 | 0.3185 | 0.5189 | 2.6292 |  |  | n/a: by difference
F2 | F2-T1 | Superior | aqueous | 2.7643 | 300 | 3.0539 | 700 | 3.601 | 0.2896 | 0.5471 | 2.8892 |  |  | n/a: by difference
F2 | F2-T2 | Superior | aqueous | 2.7754 | 300 | 3.0785 | 700 | 3.6206 | 0.3031 | 0.5421 | 2.7885 |  |  | n/a: by difference
F2 | F2-B1 | Inferior | organic | 2.735 | 300 | 2.9604 | 700 | 3.4754 | 0.2254 | 0.515 | 3.2848 | 7.8468 |  | reused: campaign 1
F2 | F2-B2 | Inferior | organic | 2.7382 | 300 | 3.0398 | 700 | 3.6181 | 0.3016 | 0.5783 | 2.9174 | 7.9933 |  | reused: campaign 1
H1 | H1-T1 | Superior | organic | 2.7346 | 300 | 2.9953 | 700 | 3.5283 | 0.2607 | 0.533 | 3.0445 | 1.9283 |  | reused: campaign 1
H1 | H1-T2 | Superior | organic | 2.7475 | 300 | 3.0121 | 700 | 3.5411 | 0.2646 | 0.529 | 2.9992 | 1.8536 |  | reused: campaign 1
H1 | H1-B1 | Inferior | aqueous | 2.766 | 300 | 3.0512 | 700 | 3.5693 | 0.2852 | 0.5181 | 2.8166 |  |  | n/a: by difference
H1 | H1-B2 | Inferior | aqueous | 2.777 | 300 | 3.1587 | 700 | 3.6894 | 0.3817 | 0.5307 | 2.3904 |  |  | n/a: by difference
I1 | I1-T1 | Superior | aqueous | 2.7247 | 300 | 3.0216 | 700 | 3.5574 | 0.2969 | 0.5358 | 2.8046 |  |  | n/a: by difference
I1 | I1-T2 | Superior | aqueous | 2.7406 | 300 | 3.0487 | 700 | 3.5826 | 0.3081 | 0.5339 | 2.7329 |  |  | n/a: by difference
I1 | I1-B1 | Inferior | organic | 2.7826 | 300 | 3.0455 | 700 | 3.5336 | 0.2629 | 0.4881 | 2.8566 | 8.9498 |  | fresh: type the new KF
I1 | I1-B2 | Inferior | organic | 2.7379 | 300 | 2.9786 | 700 | 3.5152 | 0.2407 | 0.5366 | 3.2293 | 8.945 | 8.9635 | fresh: type the new KF
2PE | 2PE-T1 | Superior | aqueous | 2.7329 | 300 | 3.0289 | 700 | 3.5641 | 0.296 | 0.5352 | 2.8081 |  |  | n/a: by difference
2PE | 2PE-T2 | Superior | aqueous | 2.7911 | 300 | 3.0889 | 700 | 3.6035 | 0.2978 | 0.5146 | 2.728 |  |  | n/a: by difference
2PE | 2PE-B1 | Inferior | organic | 0 | 300 | 0 | 700 | 0 | 0 | 0 |  | 9.0209 | 9.1673 | fresh: type the new KF
2PE | 2PE-B2 | Inferior | organic | 0 | 300 | 0 | 700 | 0 | 0 | 0 |  | 9.2039 |  | fresh: type the new KF
Note on M13: Campaign 1: 3.5476 %
Note on M14: Campaign 1: 3.6057 %
Note on M19: Campaign 1: 5.7 %
Note on M20: Campaign 1: 5.632 %
Note on M27: Campaign 1: 7.7273 %
Note on M28: Campaign 1: 8.0242 %
Note on M41: Campaign 1: 1.6603 %
Note on M42: Campaign 1: 1.6197 %
Note on M55: Campaign 1: 7.505 %
Note on M56: Campaign 1: 7.6871 %
Note on N41: Campaign 1: 1.7084 %