## Entry
Repeat campaign: vial gravimetry and preliminary Karl-Fischer
Type here (the only editable cells)
Campaign-1 KF reused, locked
Aqueous phase: water by difference, no KF
Sheet protected without password (Review > Unprotect sheet). Row 7 names the column of Sistemas ternarios_MF.xlsx each value goes to.
Tube | Vial code | Phase | Role | Vial, g | Sample, µL | Vial + sample, g | IPA, µL | Vial + sample + IPA, g | Sample, g | IPA, g | Dilution factor | KF 1, % m/m | KF 2, % m/m | KF status | Notes
|  |  |  | D | E | F | G | H | I | J |  | U | V
example | A1-T1 | Superior | organic | 2.7385 | 300 | 2.9211 | 700 | 3.4876 | 0.1826 | 0.5665 | 4.1024 | 1.93 |  | fresh (example)
A1 | A1-B1 | Inferior | aqueous | 2.7355 | 300 | 2.9736 | 700 | 3.4969 | 0.2381 | 0.5233 | 3.1978 |  |  | n/a: by difference
A1 | A1-B2 | Inferior | aqueous | 2.7307 | 300 | 2.9742 | 700 | 3.4925 | 0.2435 | 0.5183 | 3.1285 |  |  | n/a: by difference
A4 | A4-B1 | Inferior | aqueous | 2.7239 | 300 | 2.9488 | 700 | 3.4541 | 0.2249 | 0.5053 | 3.2468 |  |  | n/a: by difference
A4 | A4-B2 | Inferior | aqueous | 2.7089 | 300 | 2.9896 | 700 | 3.5222 | 0.2807 | 0.5326 | 2.8974 |  |  | n/a: by difference
A5 | A5-T1 | Superior | aqueous | 2.7384 | 300 | 2.995 | 700 | 3.5071 | 0.2566 | 0.5121 | 2.9957 |  |  | n/a: by difference
A5 | A5-T2 | Superior | aqueous | 2.7536 | 300 | 3.0468 | 700 | 3.5592 | 0.2932 | 0.5124 | 2.7476 |  |  | n/a: by difference
B2 | B2-B1 | Inferior | aqueous | 2.7371 | 300 | 2.9994 | 700 | 3.4979 | 0.2623 | 0.4985 | 2.9005 |  |  | n/a: by difference
B2 | B2-B2 | Inferior | aqueous | 2.753 | 300 | 3.0414 | 700 | 3.5695 | 0.2884 | 0.5281 | 2.8311 |  |  | n/a: by difference
B3 | B3-B1 | Inferior | aqueous | 2.8049 | 300 | 3.0683 | 700 | 3.5892 | 0.2634 | 0.5209 | 2.9776 |  |  | n/a: by difference
B3 | B3-B2 | Inferior | aqueous | 2.771 | 300 | 3.0062 | 700 | 3.5155 | 0.2352 | 0.5093 | 3.1654 |  |  | n/a: by difference
B4 | B4-B1 | Inferior | aqueous | 2.7395 | 300 | 2.9332 | 700 | 3.4433 | 0.1937 | 0.5101 | 3.6335 |  |  | n/a: by difference
B4 | B4-B2 | Inferior | aqueous | 2.7297 | 300 | 2.9893 | 700 | 3.4936 | 0.2596 | 0.5043 | 2.9426 |  |  | n/a: by difference
F5 | F5-B1 | Inferior | aqueous | 2.6972 | 300 | 3.0252 | 700 | 3.5897 | 0.328 | 0.5645 | 2.721 |  |  | n/a: by difference
F5 | F5-B2 | Inferior | aqueous | 2.7277 | 300 | 2.8873 | 700 | 3.2444 | 0.1596 | 0.3571 | 3.2375 |  |  | n/a: by difference
BIN6 | BIN6-B1 | Inferior | aqueous | 2.8037 | 300 | 3.0825 | 700 | 3.599 | 0.2788 | 0.5165 | 2.8526 |  |  | n/a: by difference
BIN6 | BIN6-B2 | Inferior | aqueous | 2.7358 | 300 | 3.0011 | 700 | 3.4696 | 0.2653 | 0.4685 | 2.7659 |  |  | n/a: by difference
I2 | I2-T1 | Superior | aqueous | 2.7348 | 300 | 2.9224 | 700 | 3.3987 | 0.1876 | 0.4763 | 3.5389 |  |  | n/a: by difference
I2 | I2-T2 | Superior | aqueous | 2.7288 | 300 | 2.982 | 700 | 3.5093 | 0.2532 | 0.5273 | 3.0825 |  |  | n/a: by difference